Project Name

Project Address

Project City, California, Project Zip Code

Site Contact Information

<Contact Name>		(555) 555-5555	 	contactemail@email.com

Energy Analyst Contact Information

<Contact Name>		(555) 555-5555	 	contactemail@email.com

Report Date:  May 19, 2014

TABLE OF CONTENTS

EXECUTIVE SUMMARY	1

DETAILED LIST OF RECOMMENDED ENERGY CONSERVATIONS MEASURES	2

EXISTING CONDITIONS	4

Building Ownership, Management, and Staffing	4

Building Occupancy	4

Energy Suppliers, Metering, and Electrical Systems	4

Building Envelope	4

Heating and Cooling Systems	4

Domestic Hot Water Systems	5

Lighting	5

Appliances	5

Laundry Equipment	5

Ventilation & Infiltration	5

Elevators	6

SECTION III.  RECOMMENDED MEASURES	7

Health and Safety Opportunities	7

Operations, Maintenance, and Education Opportunities	7

Optional Water & Green Building Measures	8

DISCLAIMER AND MODELING ASSUMPTIONS	9

Appendix A: ENERGY model OUTPUT Reports	10

Appendix B: Energy Modeling Assumptions	11

Appendix C: Additional Calculations	12

Appendix D: SAMPLING DOCUMENTATION	13

Appendix E: CoMbustion Appliance Safety WorkSHEET	15

LIST OF TABLES

Table 1 Detailed List of Measures	2

Table 2 Sampling Documentation	13

# EXECUTIVE SUMMARY

<Basic information about the project:  building characteristics, number of units, building construction type, number of stories, year built, total building area identified by use (residential, community/common, commercial), history of previous retrofits or rehabs, and other significant building features, date of site visit(s), names of individuals interviewed, overall physical condition of the building, etc.>

# DETAILED LIST OF RECOMMENDED ENERGY CONSERVATIONS MEASURES

Incremental Site Energy Use (kbtu/ sf ft year) and TDV Savings

The following chart shows the incremental improvement in site energy use (kbtu/ sf ft year) as modeled in EnergyPro (Res Performance for low-rise and Non Res-Performance for high rise).  Total site energy use is based upon conditions and schedules observed during the site visit, as well as CEC default assumptions as noted in the report and assumptions list below.  Modeled usage is based upon ideal and/or averaged conditions, which may differ from those actually present in the building.  Additionally, total TDV savings for electric savings measures is shown at the bottom.

Table 1 Detailed List of Measures

|  |  | Heating | Cooling | Lighting | Process Ltg | Receptacle | Pumps | DHW | Exterior | Total | Incremental % | Total % |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| - | Base Building | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.00 | - | - |
| 1 | Measure #1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! |
| 2 | Measure #2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! |
| 3 | Measure #3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! |
| 4 | Measure #4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! |
| 5 | Measure #5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! |
| 6 | Measure #6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! |
| 7 | Measure #7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! |
| 8 | Measure #8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! |
| 9 | Measure #9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! |
|  | Final Package: | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | - | #DIV/0! |
|  |  |  |  |  |  |  |  |  |  |  | TDV Savings* | 0.00% |

*TDV definition: Time-Dependent Valuation (TDV), is a method for valuing energy in the performance modeling approach developed as a part of the 2005 Building Energy Efficiency Standards (Title 24). Under TDV, the value of electricity differs depending on time-of-use (hourly, daily, seasonal), and the value of natural gas differs depending on season. TDV is based on the cost for utilities to provide the energy at different times.)

# EXISTING CONDITIONS

<Basic information on building including: build date, date of energy assessment, building layout, building location, number of stories, etc.  Provide clear photos with descriptive captions for any existing condition for which upgrades or changes are being recommended.>

## Building Ownership, Management, and Staffing

<Basic information on building ownership and management.>

## Building Occupancy

<Details of building occupancy including number of units, floor layouts, common area or non-residential spaces, etc.  If you did not visit each unit, this section should include a summary of the sampling procedure used on site.>

## Energy Suppliers, Metering, and Electrical Systems

<Details of building energy suppliers and metering including energy providers, energy rates, metering configuration, meter location, fuels used in building etc.>

## Building Envelope

<Details of existing building envelope, including walls, windows, doors, roofs, floors, etc.>

Figure 1- Buildings

## Heating and Cooling Systems

<Details of existing space conditioning systems and associated controls.>

Figure 2- Buildings

## Domestic Hot Water Systems

<Details of existing domestic hot water systems and associated controls.>

Figure 3- Buildings

## Lighting

<Details of existing lighting systems and associated controls.>

Figure 4- Buildings

## Appliances

<Details of existing appliances.>

Figure 5- Buildings

## Laundry Equipment

<Details of existing laundry equipment.>

## Ventilation & Infiltration

<Details of existing ventilation system, ventilation controls, and any infiltration areas identified during the site visit.>

Figure 6- Buildings

## Elevators

<Details of existing elevator equipment.>

Figure 7- Buildings

Health & Safety

<Details of any existing or potential health and safety issues identified on site and steps to mitigate identified issues.>

Figure 8- Buildings

# SECTION III.  RECOMMENDED MEASURES

Measure #__

<Provide a brief description of the recommendation including quantity and performance criteria.  Also indicate any special items of note regarding the recommendation.>

Measure #__

<Provide a brief description of the recommendation including quantity and performance criteria.  Also indicate any special items of note regarding the recommendation.>

Measure #__

<Provide a brief description of the recommendation including quantity and performance criteria.  Also indicate any special items of note regarding the recommendation.>

Measure #__

<Provide a brief description of the recommendation including quantity and performance criteria.  Also indicate any special items of note regarding the recommendation.>

Measure #__

<Provide a brief description of the recommendation including quantity and performance criteria.  Also indicate any special items of note regarding the recommendation.>

## Health and Safety Opportunities

The following list of measures represents the entire list of health, safety, comfort, repair, code compliance, and other non-energy opportunities evaluated for this project.

Measure #__

<Provide a brief description of the Health and Safety recommendation>

Measure #__

<Provide a brief description of the Health and Safety recommendation>

Measure #__

<Provide a brief description of the Health and Safety recommendation>

Measure #__

<Provide a brief description of the Health and Safety recommendation>

Measure #__

<Provide a brief description of the Health and Safety recommendation>

## Operations, Maintenance, and Education Opportunities

The following list of measures represents potential management and education options at the building.

Measure #__

<Provide a brief description of the OM&E recommendation>

Measure #__

<Provide a brief description of the OM&E recommendation>

Measure #__

<Provide a brief description of the OM&E recommendation>

Measure #__

<Provide a brief description of the OM&E recommendation>

Measure #__

<Provide a brief description of the OM&E recommendation>

## Optional Water & Green Building Measures

# DISCLAIMER AND MODELING ASSUMPTIONS

<Provide a list of all assumptions that went into the energy model and any appropriate disclaimer language used by the energy consulting firm.>

# Appendix A: ENERGY model OUTPUT Reports

<Insert appropriate EnergyPro ECON-2 reports>

# Appendix B: Energy Modeling Assumptions

<Include any assumptions that were made for modeling purposes, such as equipment run time schedules, pipe lengths, equipment efficiencies etc.>

# Appendix C: Additional Calculations

<Include details on any savings calculations that were performed outside of the modeling software>

# Appendix D: SAMPLING DOCUMENTATION

< Refer to the Sampling Protocols section of the TCAC Existing Multifamily Assessment Protocols document for dwelling unit sampling requirements.  This form must be completed in order to demonstrate compliance with the protocols.>

Table 2 Sampling Documentation

| Building #1 | Building ID or Address |  | Sampled Apt # | Sampled Apt # | Sampled Apt # | Sampled Apt # | Sampled Apt # | Sampled Apt # |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Total # of units in Building |  |  |  |  |  |  |  |
|  | # of studios or SRO's |  |  |  |  |  |  |  |
|  | # of 1 bdrs |  |  |  |  |  |  |  |
|  | # of 2 bdrs |  |  |  |  |  |  |  |
|  | # of 3 bdrs |  |  |  |  |  |  |  |
|  | # of 4 bdrs |  |  |  |  |  |  |  |
| Building #2 | Building ID or Address |  | Sampled Apt # | Sampled Apt # | Sampled Apt # | Sampled Apt # | Sampled Apt # | Sampled Apt # |
|  | Total # of units in Building |  |  |  |  |  |  |  |
|  | # of studios or SRO's |  |  |  |  |  |  |  |
|  | # of 1 bdrs |  |  |  |  |  |  |  |
|  | # of 2 bdrs |  |  |  |  |  |  |  |
|  | # of 3 bdrs |  |  |  |  |  |  |  |
|  | # of 4 bdrs |  |  |  |  |  |  |  |
| Building #3 | Building ID or Address |  | Sampled Apt # | Sampled Apt # | Sampled Apt # | Sampled Apt # | Sampled Apt # | Sampled Apt # |
|  | Total # of units in Building |  |  |  |  |  |  |  |
|  | # of studios or SRO's |  |  |  |  |  |  |  |
|  | # of 1 bdrs |  |  |  |  |  |  |  |
|  | # of 2 bdrs |  |  |  |  |  |  |  |
|  | # of 3 bdrs |  |  |  |  |  |  |  |
|  | # of 4 bdrs |  |  |  |  |  |  |  |
| Building #4 | Building ID or Address |  | Sampled Apt # | Sampled Apt # | Sampled Apt # | Sampled Apt # | Sampled Apt # | Sampled Apt # |
|  | Total # of units in Building |  |  |  |  |  |  |  |
|  | # of studios or SRO's |  |  |  |  |  |  |  |
|  | # of 1 bdrs |  |  |  |  |  |  |  |
|  | # of 2 bdrs |  |  |  |  |  |  |  |
|  | # of 3 bdrs |  |  |  |  |  |  |  |
|  | # of 4 bdrs |  |  |  |  |  |  |  |
| Building #5 | Building ID or Address |  | Sampled Apt # | Sampled Apt # | Sampled Apt # | Sampled Apt # | Sampled Apt # | Sampled Apt # |
|  | Total # of units in Building |  |  |  |  |  |  |  |
|  | # of studios or SRO's |  |  |  |  |  |  |  |
|  | # of 1 bdrs |  |  |  |  |  |  |  |
|  | # of 2 bdrs |  |  |  |  |  |  |  |
|  | # of 3 bdrs |  |  |  |  |  |  |  |
|  | # of 4 bdrs |  |  |  |  |  |  |  |
| Building #6 | Building ID or Address |  | Sampled Apt # | Sampled Apt # | Sampled Apt # | Sampled Apt # | Sampled Apt # | Sampled Apt # |
|  | Total # of units in Building |  |  |  |  |  |  |  |
|  | # of studios or SRO's |  |  |  |  |  |  |  |
|  | # of 1 bdrs |  |  |  |  |  |  |  |
|  | # of 2 bdrs |  |  |  |  |  |  |  |
|  | # of 3 bdrs |  |  |  |  |  |  |  |
|  | # of 4 bdrs |  |  |  |  |  |  |  |

If necessary add additional pages for additional buildings.  The original Excel table can be found in the second tab of the Combustion Appliance Safety Worksheet document if needed.

# Appendix E: CoMbustion Appliance Safety WorkSHEET